APPROVED

at the Procurement Commission meeting on October 24th, 2013,

Minutes No.LUFI2013/13/ERAF-INFRA/P1

Chairman of the Procurement Commission

_________________

J. E. Freibergs

Institute of Physics of the University of Latvia,

Agency of the University of Latvia

REGULATIONS

Of the Open Competition

“Research equipment for fulfilment of the Project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” – Microrheology complex, Set 2”

Procurement identification No.LUFI2013/13/ERAF-INFRA

Procurement is being carried out in the framework of the ERDF co-financed project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies”,

No. 2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004

(With corrected Technical specification and tender submission deadline extension made on 02.12.2013.)

Salaspils, 2013

Content

1. GENERAL INFORMATION   _________________________________________   3

2. TENDER documents, submission and opening procedure of the tenders ________________________________________________________  4

3. INFORMATION ON THE SUBJECT OF THE PROCUREMENT ___________  5

4. QUALIFICATION REQUIREMENTS AND THE SELECTION OF APPLICANTS _________________________________________________________   6

5. EVALUATION OF TENDERS   ________________________________________   8

6. TENDER EXAMINATION ROUTINE    _________________________________   9

7. RIGHTS AND RESPONSIBILITIES OF THE COMMISSION  ______________  9

8. APPLICANT'S RIGHTS AND OBLIGATIONS  __________________________  10

9. TERMS OF THE CONTRACT  ________________________________________  11

Appendix 1. TECHNICAL SPECIFICATIONS   ____________________________  12

Appendix 2. CONTRACT DRAFT   _______________________________________  34

Appendix 3.1. APPLICATION (form)   ____________________________________  44

Appendix 3.2. List of supplies (form) _________________________________  46

Appendix 4. FINANCIAL OFFER (form)   _________________________________  47

1. GENERAL INFORMATION.

1.1. Procurement identification number: LUFI2013/13/ERAF-INFRA.

1.2. Contracting Authority:

| Contracting Authority ‘s Name | Institute of Physics of the University of Latvia, Agency of the University of Latvia (UL), hereinafter - IPUL |
| --- | --- |
| Address | 32 Miera Str., Salaspils, LV-2169, Latvia |
| VAT Reg. No. | LV 90002112199 |
| Telephone No. | +371 67944700 |
| Fax No. | +371 67901214 |
| e-mail address | mbroka@sal.lv |
| Website address | http://ipul.lv/main/ |
| Contact person | Maija Broka, Secretary of the Procurement Commission |
| Telephone No. | +371 67944700, +371 29680881 |
| Fax No. | +371 67901214 |
| e-mail address | mbroka@sal.lv |
| Office hours | 9:30-15:30 |

1.3. Subject of the Procurement: Microrheology complex, Set 2.

CPV code - 38000000-5.

1.4. Place of the Contract performance: premises of the UL Faculty of Physics and Mathematics, address - Zellu Str. 8, Riga, LV-1002, Latvia.

for t1.5. Deadlines:

| Activity | Date | Time ** |
| --- | --- | --- |
| The deadline for requesting additional information from the Contracting Authority | 27.12.2013.* |  |
| The deadline for interested parties to provide an explanation | 28.12.2013. |  |
| The deadline for submission of tenders | 07.01.2014. | 12:00 |
| The tender opening session | 07.01.2014. | 12:00 |
| Notification of the Competition results | 14.01.2014. (indicative) |  |
| Procurement contract (Contract) conclusion | 27.01.2014. (indicative) |  |
| Time of delivery of Goods after the date of conclusion of the Contract | 6 weeks |  |

*) The deadline for requesting additional information here means the date when the question has become available to the Contracting Authority (the receipt of a letter, fax or e-mail message). Additional information request regarding the Tender Regulations must be submitted in time, taking into account the fact that the IPUL Procurement commission is not authorized to provide additional information later than 6 (six) days before the tender submission deadline.

**) Latvian time.

1.6. Procurement method.

The method of the present Procurement is open competition (hereinafter - the Competition), which is regulated by the Public Procurement Law (PPL) and other applicable laws and regulations of the Republic of Latvia (RL).

1.7. Applicant is a natural person or a legal person, association of such persons in any combination, who has submitted a tender for the Competition.

1.8. Tender validity period: 90 (ninety) days from the deadline for submission of tenders fixed in the paragraph 1.5 of the Competition regulations (hereinafter – the Regulations). If the procurement Contract due to objective reasons can not be concluded in the aforementioned period of time, the Contracting Authority may request the extension of the tender validity period and agree on it with the Applicant in written form.

1.9. Tender security is not intended in the Competition.

1.10. The Competition is organized by the Procurement commission of the Institute of Physics of the University of Latvia set up by the IPUL Director’s order No.2/162 from the 1st of June 2011 (hereinafter - the Commission).

1.11. Contracting Authority provides free and direct electronic access to the procurement documents in the section Puchases of the IPUL website – see http://ipul.lv/iepirkumi/ .

1.12. Payment of the contractual amount will be made from the ERDF sub-activity No.2.1.1.3.1. “Development of the Research Infrastructure” project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies”, Agreement No.2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004, financial resources (hereinafter - Funding).

- 2. TENDER documents, submission and opening procedure of the tenders.

2.1. An Applicant may submit only one tender. The tender shall not include several technical proposal or financial offer options.

2.2. The tender must comply with the requirements contained in the present Regulations and consist of:

1) Application for participation in the Competition to be filled in on the form enclosed as Annex 3.1 to the Regulations;

2) Documents certifying Applicants' qualifications (see Section 4 of the Regulations);

3) Technical proposal, that shall be filled in on the form enclosed as Annex 1 to the present Regulations; technical proposal must be signed;

4) Financial offer, that shall be filled in on the form enclosed as Annex 4 to the present Regulations; financial offer must be signed.

2.3. Applicant shall submit a signed tender. If the tender is submitted by a group of persons, it shall be signed by all persons, belonging to the group of persons.

2.4. The tender shall be signed by a person with signatory powers or an authorised person. If the tender is signed by an authorized person, the tender must be accompanied by a power of attorney or a copy of the authorization duly certified according procedure set in the laws and regulations.

2.5. Tender documents must be fastened together in a way that would be impossible to replace or remove the tender page; pages should be numbered. If the Applicant attaches to the tender promotional materials, brochures, catalogs, etc., which are not fastened together, on each attached document Applicant's name should be indicated.

2.6. The tender shall be prepared in Latvian or English, according the requirements of recordkeeping, in 2 (two) copies in paper form:

1) The original (marked "Original") - 1 piece,

2) Copy (marked "Copy") - 1 piece.

Some explanatory documents may be submitted in another language, then they must be accompanied by an Applicant’s certified translation into Latvian or English.

2.7. The place and procedure of submitting the tender:

2.7.1. The tender original and copy must be submitted (sent) in a closed and sealed envelope. The following information should be put on the envelope:

1) Institute of Physics of the University of Latvia,
Miera Street 32, Salaspils, LV-2169, Latvia;

2) Applicant's name and address;

3) Note “For the Competition “Research equipment for fulfilment of the project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” (LUFI2013/13/ERAF-INFRA)”.

2.7.2. Applicants may submit (send) tenders to the Secretariat of the IPUL, Room 206 in the Administrative building, 2nd floor, Miera Street 32, Salaspils, in the working days from 9:30 to 15:30 up to the date and time fixed in the paragraph 1.5 of the Regulations. After the deadline tenders will not be accepted.

2.7.3. Tenders may be sent in a registered letter, by courier service or delivered in person.

2.8. Opening place and date of the tenders: The tender opening will take place at the Meeting room of the IPUL SML building, 2nd floor, Miera Street 32, Salaspils, and will begin in the date and time fixed in the paragraph 1.5 of the Regulations. The tender opening session is open and it is allowed to take part for everyone being interested in.

3. INFORMATION ON THE SUBJECT OF THE PROCUREMENT.

3.1. Procurement is subdivided into four Lots and they are: Microrheology complex, Set 2. Personnel training/instruction shall be performed after the delivery.

3.2. Delivery volume - 1 full set of the equipment in accordance with the Technical specification (Appendix 1 of the Regulations).

3.3. Delivery must be carried out in accordance with the requirements set out in the Technical specification and procurement Contract project (Appendix 2 of the Regulations).

3.4. Time for fulfilment of the contract: 6 (six) weeks after the date of signing of the Contract.

3.5. Procurement will be carried out in the framework of the ERDF co-financed project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” (No 2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004).

4. QUALIFICATION requirements and the selection of applicants.

4.1. The Contracting Authority accepts submitted tenders from Applicants that meet the requirements of this section and have been selected in accordance with the procedures specified in the Regulations.

4.2. Provisions for exclusion of Applicants.

The Contracting Authority excludes the Applicant from further participation in the procurement procedure, as well as does not accept the Applicant’s tender if:

4.2.1. Applicant is not registered in accordance with statutory requirements;

4.2.2. Pursuant to a court judgement or an prosecutor’s injunction regarding a penalty, which has come into effect and become indisputable and non-appealable, the Applicant has been found guilty in offences of evasion of tax payments or payments equalled to tax, in offences of corruptive character, fraudulent activities in financial matters, laundering of proceeds derived from crime or participation in a criminal organisation;

4.2.3. Pursuant to a decision made by a competent institution or a court judgement, which has come into effect and become indisputable and non-appealable, the Applicant has been found guilty in an offence related to: a) employment of one or several citizens or nationals that are not citizens or nationals of the Member States of the European Union, if they stay illegally in the territory of the Member States of the European Union; b) employment of a person without a written employment contract and not submitting about this person the informational declaration on persons, who start working, in time-limits set by laws and regulations of taxes.

4.2.4. Pursuant to a decision made by a competent institution or a court judgement, which has come into effect and become indisputable and non-appealable, the Applicant has been found guilty of violating the competition rights manifested in a vertical agreement aimed to limit a buyer's ability to set a resale price or the horizontal cartel agreement, except the case when the respective institution, upon establishing a violation of the competition rights, has exempted the Applicant from penalty;

4.2.5. An insolvency process of the Applicant has been declared, the Applicant’s business activity has been suspended or terminated, Applicant’s bankruptcy proceedings have been started or it is established that the Applicant will be liquidated until the expected expiry date of Contract fulfilment;

4.2.6. The Applicant in Latvia or in the country where the Applicant is registered or where it has its residence (in case if the Applicant is not registered in Latvia or Latvia is not its residence country) has tax arrears including debts of the compulsory social security contribution, which exceed 100 LVL in total in each country (for Applicants registered in Latvia – with reservations stated in the Article 39, part (54), paragraph 1), clause b) of the PPL);

4.2.7. The Applicant has provided false information regarding its qualifications or has not provided the requested information at all.

4.3. Provisions for exclusion of an Applicant defined in the paragraphs 4.2.2, 4.2.3 and 4.2.4 of the Regulations are not applied in cases set out in the Article 39, part (4) of the PPL.

4.4. In order to enable the Commission to assess the Applicant in accordance with the paragraph 4.2 of the Regulations, the Applicant shall submit the following documents:

4.4.1. Applicant's registration certificate copy;

4.4.2. Document confirming the signatory person’s legitimate rights of representation;

4.4.3. Attestation of the Applicant itself that the circumstances referred to in paragraphs 4.2.2 – 4.2.6 of the Regulations do not apply to the Applicant.

4.5. From the Applicant registered in a foreign country (foreign country is its place of residence) to whom in accordance with the requirements of these Regulations and the tender selection criteria would be awarded the rights of concluding the contract, the Commission requests the Applicant to submit in 10 (ten) business days the following documents issued not earlier than one month prior to the date of submission:

4.5.1. Certificate issued by the competent authority of the respective foreign country attesting that the Applicant has not been convicted for offences referred to in the paragraph 4.2.3 of these Regulations;

4.5.2. Certificate issued by the competent authority of the respective foreign country certifying that an insolvency process of the Applicant has not been declared, the Applicant is not undergoing liquidation and its business activities have not been suspended;

4.5.3. Certificate issued by the competent authority of the respective foreign country attesting that the Applicant has no tax arrears, including debts of the compulsory social security contribution, which exceed 100 LVL in total.

4.6. Information about the Applicant's economic and financial situation:

4.6.1. Applicant's economic and financial situation must meet the following conditions: Applicant's average annual financial turnover in supplying equivalent goods (equipment) in every year over the last 3 (three) years should exceed the price of the Applicant's tender.

4.6.2. In order to assess the Applicant's economic and financial situation, the Applicant shall submit a statement of the average annual financial turnover in supplying equivalent goods (equipment) over the last three years. The Applicant who is running business less than 3 years shall submit a statement of its own period of operation.

4.6.3. The Commission may require the Applicant to submit the latest financial statement submitted to the State Revenue Service or equivalent authority of tax administration in another country, or excerpt from the financial statement and the auditor's report, if any.

4.7. Information about the Applicant's capabilities:

4.7.1. The Applicant shall have the experience in the delivery of similar goods (equipment); the contract sum of at least one contract shall exceed the price of the Applicant’s tender.

4.7.2. In order to assess Applicant's capabilities the Applicant shall provide a list of the performed 3 to 5 main contracts on the delivery of similar goods (equipment) over the last 3 (three) years filling in the form given in the Appendix 3.2 of the Regulations.

4.8. Additional information:

4.8.1. If the information provided by the Applicant under the paragraphs 4.4, 4.5, 4.6 and 4.7 of the Regulations, is insufficient to determine whether the conditions of the paragraph 4.2 of the Regulations are applicable/non-applicable to the Applicant, or in order to evaluate the economic and financial status and capabilities of the Applicant, the Contracting Authority is entitled to request the Applicant to explain the information submitted or submit additional information.

4.8.2. To determine whether or not a tender of unjustifiably low cost has been received, the Contracting Authority can request the Applicant, who has submitted the tender with the lowest price, to submit a description of the specific market conditions available only to this Applicant that substantiates the price reduction.

4.9. Exclusion from participation in the procurement process.

4.9.1 If any of the conditions of exclusion referred to in the paragraph 4.2 of the Regulations is applicable to the Applicant or the Applicant’s economic and financial status and capabilities do not conform to the conditions defined in the paragraphs 4.6 and 4.7 of the Regulations, the Contracting Authority shall take a decision not to examine the Applicant’s tender and to exclude the Applicant from further participation in the procurement procedure.

4.9.2. If the Applicant has submitted a tender of unjustifiably low cost, the Contracting Authority shall take a decision on the Applicant's exclusion from further participation in the procurement procedure.

- 5. evaluation OF TENDERS.

5.1. Evaluation of tenders will take place in the following stages:

5.1.1. Tender design verification - the Commission shall assess whether the tenders is submitted and presented in accordance with the requirements specified in the Regulations;

5.1.2. Selection of Applicants - the Commission shall determine an Applicant's competence and compliance with the expected performance of the contract requirements from the documents and certificates submitted by the Applicant;

5.1.3. Tender technical compliance check - The Commission shall examine the technical offer compliance with the Technical specifications (Appendix 1of the Regulations) for those Applicants which have passed the selection of Applicants;

5.1.4. Tender evaluation.

5.2. Tenders which have passed the selection of Applicants (Section 4 of the Regulations) and meet the required technical specifications (Appendix 1 of the Regulations) will be judged by the criterion - the lowest price.

5.3. The offered prices without value added tax, given in EUR, will be compared (prices given in LVL or other currencies will be converted to EUR according exchange rates set by the Bank of Latvia at the date of tender opening).

5.4. The Applicant should ensure the invariability of the offered price throughout the procurement contract progress. Possible inflation, market condition changes or any other circumstances may not be a reason for price increase, and the Applicant shall predict and calculate the consequences of these processes when drawing up the financial offer.

6. TENDER EXAMINATION ROUTINE.

6.1. The Commission performs evaluation of the tenders and selection of suppliers from the Applicants.

6.2. Commission meetings are chaired by the Chairman of the Commission (hereinafter – the Chairman).

6.3. At the tender opening session the tenders are opened according their submission sequence. The Applicant has been named, the tender submission date, time and the offered price announced. All present members of the Commission shall sign the financial offer by signing each page of the offer.

6.4. Each Commission member shall sign a statement that there are no circumstances which would lead to believe that he or she is interested in choice or action of a particular Applicant, or that he or she is related to an Aplicant in the sense of the Article 23, Part (1) of the PPL.

6.5. The Commission records the tender opening session and all subsequent Commission meetings.

6.6. Applicant selection, tender verification and evaluation of proposals are performed by the Commission in closed meetings.

6.7. During the selection of Applicants the Commission shall determine the Applicant's competence and compliance with the expected performance of the contract requirements from the documents submitted by the Applicants, checking Applicant's compliance with each requirement of these Regulations. If the tender or Applicant does not comply with all requirements of the Regulations, the Commission shall exclude the Applicant from further participation in the Competition.

6.8. For those Applicants which have passed the selection of Applicants the Commission proceeds to evaluation of the technical proposal according to requirements specified in the technical specifications of the Regulations. If the Applicant's proposal does not meet any of the requirements, the Commission terminates the evaluation of the tender.

6.9. During evaluation of tenders the Commission checks every tender against presence of arithmetical errors. If such errors are found, they are corrected. Assessing the financial proposal, the Commission takes into account the revisions.

6.10. Commission decides to sign the procurement contract in accordance with paragraphs 5.2 and 5.3 of these Regulations on the condition that the tender is not found to be tender of unjustifiably low cost.

- 7. RIGHTS AND RESPONSIBILITIES OF THE COMMISSION.

7.1. Commission has the right to call to its work specialists or experts in an advisory capacity. The expert provides a written assessment which is added to the minutes of the Commission meeting. Expert's opinion is not binding for the Commission.

7.2. The Commission may make changes to the Regulations or extend the deadline for submission of tenders. The information is published in the Publications Management System of the Procurement Monitoring Bureau (PMB) and on the website of the Contracting Authority (http://ipul.lv/iepirkumi/).

7.3. The Commission has the right to refuse the further evaluation of any tender, if it is found that it does not comply with the requirements defined in the present Regulations or the laws and regulations of the Republic of Latvia, or contains false information.

7.4. If the Commission has doubts about the authenticity of the copy of a document, it requires the Applicant to present the original or submit a certified copy of the document.

7.5. If the information is insufficient in the documents submitted by an Applicant, the Commission may request additional information determining the deadline and place for information submission.

7.6. If the Applicant fails to submit the requested information or clarifications, the Commission evaluates the tender using the documents included in the tender.

7.7. Commission reserves the right at any time to terminate the procedure if there is an objective substantiation for such action.

7.8. After the ​​selection of Applicants and verification against compliance of tenders with the requirements defined in the present Regulations, the Commission has the right to take one of the following decisions:

a) to enter into the procurement contract with the Applicant;

b) to terminate the Competition without selecting any tender.

7.9. The Commission publishes its decision on the Contracting Authority’s website (http://ipul.lv/iepirkumi/) and within three business days sends a written notification of its decision to all Applicants and to the Procurement Monitoring Bureau.

7.10. If the Procurement Monitoring Bureau or the Contracting Authority within 10 (ten) days + one business day from the day of publishing the notification about the taken decision on the Procurement Monitoring Bureau’s website receives no complaint from an Applicant on activities of the Contracting Authority regarding legality of the Competition, the Contracting Authority shall enter into the Procurement Contract with the selected Applicant.

8. APPLICANT'S RIGHTS AND OBLIGATIONS.

8.1. Participation in the Competition is Applicant’s free will.

8.2. Submitting its tender for participation in the Competition, the Applicant shall fully accept and shall be prepared to meet the requirements of the Regulations of this Competition and requirements of laws and regulations of the Republic of Latvia on public procurement.

8.3. Applicant may modify or withdraw submitted tender provided that the Applicant submits a written notification about changes (or withdrawal) before the tender submission deadline. After the tender submission deadline the tender can not be modified or supplemented.

8.4. Applicant has the right to participate in the tender opening session.

8.5. Applicant has the rights to appeal against the decision of the Commission in accordance with the procedure set in the Public Procurement Law.

- 9. terms of the contract.

9.1. Procurement contract with the selected Applicant will be concluded if Applicant’s financial offer for the respective Lot will not exceed the available amount of Funding.

9.2. The purpose of conclusion of the contract is to define legal relationships between the Contracting Authority and supplier of Goods.

9.3. Contracting Authority concludes the contract in accordance with the Applicant‘s offer, which corresponds the requirements of the Regulations. Technical specifications of the Goods, included in the Applicant’s offer, will be annexed to the contract as its integral part.

9.4. Appendix 2 of the Regulations holds the draft of the procurement contract.

9.5. If the selected Applicant within 15 (fifteen) days after the receipt of invitation to conclude the procurement contract does not conclude the contract, the Contracting Authority may decide on the conclusion of the contract with the Applicant which has submitted the next most advantageous tender.

Pielikums Nr.1

iepirkuma „Pētnieciskā aparatūra projekta „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju

Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” izpildei - Mikroreoloģijas komplekss, 2. komplekts” nolikumam

Iepirkuma identifikācijas Nr. LUFI2013/13/ERAF-INFRA

Appendix 1

To the Regulations of the Procurement

“Research equipment for fulfilment of the Project “Development of Scientific Infrastructure

for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” - Microrheology complex, Set 2”

Procurement identification No.LUFI2013/13/ERAF-INFRA

AIZPILDA PRETENDENTS

TO BE COMPLETED BY THE APPLICANT

TEHNISKĀS SPECIFIKĀCIJAS UN TEHNISKĀ PIEDĀVĀJUMA IESNIEGŠANAS FORMA

iepirkumam Nr. LUFI2013/13/ERAF-INFRA
„Pētnieciskā aparatūra projekta „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” izpildei”

(Iepirkums tiek veikts ERAF līdzfinansēta projekta
Nr. 2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004 „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” ietvaros.)

TECHNICAL SPECIFICATIONS AND FORM FOR THE TECHNICAL PROPOSAL

For the Procurement Nr.LUFI2013/13/ERAF-INFRA

“Research equipment for fulfilment of the Project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” - Microrheology complex, Set 2”

(Procurement is being carried out in the framework of the ERDF co-financed project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies”,

No 2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004).

Mikroreoloģijas komplekss, 2. komplekts

Microrheology complex, Set 2

| No. | Contracting Authority’s requirements |  |  |  |  | Pasūtītāja prasības |  |  |  | Detalizēts Pretendenta piedāvājuma apraksts/ Detailed description of the Aplicant’s offer |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | General requirements |  |  |  |  | Vispārīgās prasības |  |  |  |  |
| 1.1 | Undefined requirements | Where any technical requirement referring to the present Contract is not defined in the Technical Specifications, it shall comply with the minimum generally accepted requirements or standards. |  |  |  | Nenodefinētās prasības | Ja tehniskajās specifikācijās kāda uz šo līgumu attiecošās tehniskā prasība nav definēta, tai ir jāatbilst minimālajām vispārpieņemtajām prasībām vai standartiem. |  |  |  |
| 1.2 | Technical condition of the equipment to be delivered | The equipment to be delivered shall not be previously used, the used or the renovated parts shall not be built therein. |  |  |  | Piegādājamās iekārtas stāvoklis | Līguma ietvaros piegādājamā iekārta nedrīkst būt lietota, tajā nedrīkst būt iebūvētas lietotas vai renovētas daļas. |  |  |  |
| 1.3. | Offer | Given parameters are minimum requirements for the equipment: Applicant can offer equipment which is better – wider measurement range, superior accuracy, longer warranty period etc. |  |  |  | Piedāvājums | Dotie parametri ir minimālās prasības iekārtai: Pretendents var piedāvāt iekārtu, kas ir labāka – ar plašāku mērīšanas diapazonu, lielāku precizitāti, ilgāku garantijas periodu un tml. |  |  |  |
| 1.4. | Compatibility | All components that should be mounted on the optical table must be mutually compatible. |  |  |  | Savietojamība | Visām uz optiskā galda montējamām detaļām ir jābūt savstarpēji savietojamām. |  |  |  |
| 2. | Warranty |  |  |  |  | Garantija |  |  |  |  |
| 2.1 | Warranty | At least 1 (one) year for every item of the set. |  |  |  | Garantija | Vismaz 1 (viens) gads katrai komplekta vienībai. |  |  |  |
| 3. | Delivery |  |  |  |  | Piegāde |  |  |  |  |
| 3.1. | Delivery costs (including transport insurance) |  | Delivery costs should be included in the offered cost of the set. |  |  | Piegādes izmaksas (ieskaitot transporta apdrošināšanu) | Piegādes izmaksām jābūt iekļautām piedāvātajā komplekta cenā. |  |  |  |
| 3.2 | Delivery time |  | 6 (six) weeks after the entering into the contract. |  |  | Piegādes laiks | 6 (sešas) nedēļas pēc līguma noslēgšanas. |  |  |  |
| 3.3. | Delivery place |  | Zellu Str. 8, Riga, LV-1002, Latvia |  |  | Piegādes vieta | Zeļļu iela 8, Rīga, LV-1002, Latvija |  |  |  |
| 3.4. | Installation technical support and training at the delivery place |  | Included |  |  | Instalācijas tehniskais atbalsts un apmācība piegādes vietā | Iekļauts |  |  |  |
| 4. | Technical specifications of the Microreology complex |  |  |  |  | Mikroreoloģijas kompleksa tehniskās specifikācijas |  |  |  |  |
| 4.1. | Microscope videocamera for fluorescence, 1pc. |  |  |  |  | Fluorescencei paredzēta mikroskopa videokamera, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.1.1. | Dynamic range |  |  |  | > 62 db | Dinamiskais diapazons |  |  | ###### > 62 db |  |
| 4.1.2. | Resolution, px |  |  |  | at least 1392 x 1040 | Izšķirtspēja, pikseļi |  |  | vismaz 1392 x 1040 |  |
| 4.1.3. | Bit depth |  |  |  | ≥ 12 | Bitu dziļums |  |  | ≥ 12 |  |
| 4.1.4. | Sensor with cooling |  |  |  | yes | Sensors ar dzesēšanu |  |  | jā |  |
| 4.1.5. | Region of interest (ROI) |  |  |  | freely, from 1 x1 px. | Interesējošā apgabala izvēle |  |  | brīva, sākot no 1 x 1 piks. |  |
| 4.1.6. | Digital trigger input |  |  |  | yes | Digitālā ieeja aktivēšanai |  |  | jā |  |
| 4.1.7. | Minimal exposure time |  |  |  | ≤ 7 μs | Minimālais ekspozīcijas laiks |  |  | ≤ 7 μs |  |
| 4.1.8. | Compatible with micro-scope Leica DMI3000 B |  |  |  | yes | Savietojams ar mikroskopu Leica DMI3000 B |  |  | jā |  |
| 4.1.9. | For Leica DMI3000 B recomended C-Mount adapter or equivalent |  |  |  | included | Leica DMI3000 B rekomendētais C-Mount adapteris vai ekvivalents |  |  | iekļauts |  |
| 4.1.10. | PC interface |  |  |  | Firewire B (IEEE1394b) or USB 3.0 | Savienojums ar datoru |  |  | Firewire B (IEEE1394b) vai USB 3.0 |  |
| 4.1.11. | Warranty |  |  |  | ≥ 12 months | Garantija |  |  | ≥ 12 mēneši |  |
| 4.2. | Syringe Pump, 1pc. |  |  |  |  | Šļirces pumpis, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.2.1. | Number of syringes |  |  |  | 2 | Šļirču skaits |  |  | 2 |  |
| 4.2.2. | Syringe size minimum |  |  |  | ≤ 1 μl | Šļirču minimālais tilpums |  |  | ≤ 1 μl |  |
| 4.2.3. | Syringe size maximum |  |  |  | ≥ 140 ml | Šļirču maksimālais tilpums |  |  | ≥ 140 ml |  |
| 4.2.4. | Flow rate minimum |  |  |  | ≤ 5 pl/min | Minimālais plūsmas ātrums |  |  | ≤ 5 pl/min |  |
| 4.2.5. | Flow rate maximum |  |  |  | ≥ 200 ml/min | Maksimālais plūsmas ātrums |  |  | ≥ 200 ml/min |  |
| 4.2.6. | Accuracy |  |  |  | ≤ 0.35% | Precizitāte |  |  | ≤ 0,35% |  |
| 4.2.7. | Programmable |  |  |  | yes | Programmējams |  |  | jā |  |
| 4.2.8. | PC interface |  |  |  | USB | Savienojams ar datoru |  |  | USB |  |
| 4.2.9. | Warranty |  |  |  | ≥ 12 months | Garantija |  |  | ≥ 12 mēneši |  |
| 4.3. | Upgrade of laser tweezer for microrheology |  |  |  |  | Lāzerpincetes pielāgošana mikroreoloģijai |  |  |  |  |
| 4.3.1. | Water immersion objective, 1pc. – deleted from the list |  |  |  |  | Ūdens imersijas objektīvs, 1 gab. – izslēgts no saraksta |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.2. | Oil immersion condenser, 1pc. |  |  |  |  | Eļļas immersijas kondensors, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.2.1. | Numeric aperture (N.A.) |  |  |  | 1.4 | Skaitliskā apertūra (N.A.) |  |  | 1,4 |  |
| 4.3.2.2. | Compatible with micro-scope Leica DMI3000 B |  |  |  | yes | Savietojams ar mikroskopu Leica DMI3000 B |  |  | jā |  |
| 4.3.2.3. | Oil immersion |  |  |  | yes | Eļļas immersija |  |  | jā |  |
| 4.3.3. | Laser coupling in fibre part |  |  |  |  | Lāzera salāgošanas ar šķiedru daļa |  |  |  |  |
| 4.3.3.1. | Single mode Optic Fiber, 1pc. |  |  |  |  | Vienmodas optiskā šķiedra, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.1.1. | Length |  |  |  | ≥ 1 m | Garums |  |  | ≥ 1 m |  |
| 4.3.3.1.2. | Compatible with laser of 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.3.1.3. | AR - Coated |  |  |  | at least for one tip | Pretatstarošanās pārklājums |  |  | vismaz vienam galam |  |
| 4.3.3.1.4. | Connectors at both ends |  |  |  | FC/APC | Abos galos konektori |  |  | FC/APC |  |
| 4.3.3.2. | Pillar Post Spacer, 4pc. |  |  |  |  | Starplika statnim, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.2.1. | Diameter |  |  |  | 25 mm | Diametrs |  |  | 25 mm |  |
| 4.3.3.2.2. | Thickness |  |  |  | 2 mm | Biezums |  |  | 2 mm |  |
| 4.3.3.3. | Z – Axis Translation mount, 2 pc. |  |  |  |  | Translators pa z-asi, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.3.1. | Directly mount optics with diameter |  |  |  | 1 '' | Paredzēts optikai ar diametru |  |  | 1 '' |  |
| 4.3.3.3.2. | Thread |  |  |  | SM1 | Vītne |  |  | SM1 |  |
| 4.3.3.3.3. | Length of travel |  |  |  | ≥ 1.5 mm | Pārvietojums |  |  | ≥ 1,5 mm |  |
| 4.3.3.3.4. | Travel increment |  |  |  | ≤ 1 μm | Pārvietojuma precizitāte |  |  | ≤ 1 μm |  |
| 4.3.3.3.5. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.3.4. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.4.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.3.4.2. | Length |  |  |  | 1.5 '' | Garums |  |  | 1,5 '' |  |
| 4.3.3.5. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.5.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.3.5.1. | Length |  |  |  | 3 '' | Garums |  |  | 3 '' |  |
| 4.3.3.6. | Cage Plates, 2 pc. |  |  |  |  | Plāksnīte, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.6.1. | Directly mount optics with diameter |  |  |  | 1 '' | Paredzēts optikai ar diametru |  |  | 1 '' |  |
| 4.3.3.6.2 | Thread |  |  |  | SM1 | Vītne |  |  | SM1 |  |
| 4.3.3.6.3. | Thickness |  |  |  | 0.5 '' | Biezums |  |  | 0,5 '' |  |
| 4.3.3.6.4. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.3.7. | Fiber Adapter Plates, 2 pc. |  |  |  |  | Pārejas savienojums optiskajai šķiedrai, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.7.1. | Optic fiber connector |  |  |  | FC/APC | Paredzētais optiskās šķiedras konektors |  |  | FC/APC |  |
| 4.3.3.7.2. | External Thread |  |  |  | SM1 | Ārējā vītne |  |  | SM1 |  |
| 4.3.3.8. | Pedestal Pillar Posts, 2 pc. |  |  |  |  | Statnis, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.8.1. | Diameter |  |  |  | 25 mm | Diametrs |  |  | 25 mm |  |
| 4.3.3.8.2. | Height |  |  |  | 12.5 mm | Augstums |  |  | 12,5 mm |  |
| 4.3.3.8.3. | Thread |  |  |  | M4 | Vītne |  |  | M4 |  |
| 4.3.3.8.4. | Clamping Fork compatibility |  |  |  | yes | Montējams ar dakšu |  |  | jā |  |
| 4.3.3.9. | Pedestal Pillar Posts, 1 pc. |  |  |  |  | Statnis, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.9.1. | Diameter |  |  |  | 25 mm | Diametrs |  |  | 25 mm |  |
| 4.3.3.9.2. | Height |  |  |  | 19 mm | Augstums |  |  | 19 mm |  |
| 4.3.3.9.3. | Thread |  |  |  | M4 | Vītne |  |  | M4 |  |
| 4.3.3.9.4. | Clamping Fork compatibility |  |  |  | yes | Montējams ar dakšu |  |  | jā |  |
| 4.3.3.10. | Aspheric Lens, 1 pc. |  |  |  |  | Asfēriska lēca, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.10.1. | Focal length |  |  |  | 5 mm | Fokusa attālums |  |  | 5 mm |  |
| 4.3.3.10.2. | Numeric aperture (N.A.) |  |  |  | 0.15 | Skaitliskā apertūra (N.A.) |  |  | 0,15 |  |
| 4.3.3.10.3. | Mounted |  |  |  | yes | Iemontēta ietvarā |  |  | jā |  |
| 4.3.3.10.4. | Compatible with laser of 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.3.10.5. | AR Coating |  |  |  | yes | Dzidrināts |  |  | jā |  |
| 4.3.3.10.6. | Mount Thread |  |  |  | M6 x 0.5 | Ietvara vītne |  |  | M6 x 0,5 |  |
| 4.3.3.11. | Aspheric Lens, 2 pc. |  |  |  |  | Asfēriska lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.11.1. | Focal length |  |  |  | 8.07 mm | Fokusa attālums |  |  | 8,07 mm |  |
| 4.3.3.11.2. | Numeric aperture (N.A.) |  |  |  | 0.5 | Skaitliskā apertūra (N.A.) |  |  | 0,5 |  |
| 4.3.3.11.3. | Mounted |  |  |  | yes | Iemontēta ietvarā |  |  | jā |  |
| 4.3.3.11.4. | Compatible with laser of 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.3.11.5. | AR Coating |  |  |  | yes | Dzidrināts |  |  | jā |  |
| 4.3.3.11.6. | Mount Thread |  |  |  | M12 x 0.5 | Ietvara vītne |  |  | M12 x 0,5 |  |
| 4.3.3.12. | Aspheric Lens, 1 pc. |  |  |  |  | Asfēriska lēca, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.12.1. | Focal length |  |  |  | 11.21 mm | Fokusa attālums |  |  | 11,21 mm |  |
| 4.3.3.12.2. | Numeric aperture (N.A.) |  |  |  | 0.25 | Skaitliskā apertūra (N.A.) |  |  | 0,25 |  |
| 4.3.3.12.3. | Mounted |  |  |  | yes | Iemontēta ietvarā |  |  | jā |  |
| 4.3.3.12.4. | Compatible with laser of 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.3.12.5. | AR Coating |  |  |  | yes | Dzidrināts |  |  | jā |  |
| 4.3.3.12.6. | Mount Thread |  |  |  | M9 x 0.5 | Ietvara vītne |  |  | M9 x 0,5 |  |
| 4.3.3.13. | Mirrors, 2 pc. |  |  |  |  | Spoguļi, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.13.1. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.3.13.2. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.3.13.3. | Compatible with laser power |  |  |  | > 2W | Piemērots lāzeram ar jaudu |  |  | > 2W |  |
| 4.3.3.13.4. | Reflectance |  |  |  | > 99% | Atstarošanās |  |  | > 99% |  |
| 4.3.3.14. | Aspheric Lens Cell Adapter, 2 pc |  |  |  |  | Pārejas savienojums asfēriskai lēcai, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.14.1. | Compatible with lens with thread |  |  |  | M12 x 0.5 | Paredzēts lēcai ar vītni |  |  | M12 x 0,5 |  |
| 4.3.3.14.2. | External Thread |  |  |  | SM1 | Ārējā vītne |  |  | SM1 |  |
| 4.3.3.15. | Aspheric Lens Cell Adapter, 1 pc. |  |  |  |  | Pārejas savienojums asfēriskai lēcai, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.15.1. | Compatible with lens with thread |  |  |  | M9 x 0.5 | Paredzēts lēcai ar vītni |  |  | M9 x 0,5 |  |
| 4.3.3.15.2. | External Thread |  |  |  | SM1 | Ārējā vītne |  |  | SM1 |  |
| 4.3.3.16. | Aspheric Lens Cell Adapter, 1pc. |  |  |  |  | Pārejas savienojums asfēriskai lēcai, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.3.16.1. | Compatible with lens with thread |  |  |  | M6 x 0.5 | Paredzēts lēcai ar vītni |  |  | M6 x 0,5 |  |
| 4.3.3.16.2. | External Thread |  |  |  | SM1 | Ārējā vītne |  |  | SM1 |  |
| 4.3.4. | First telescope, beam stearing part |  |  |  |  | Pirmais teleskops, stara stūrēšana daļa |  |  |  |  |
| 4.3.4.1. | Attenuator, 1 pc. |  |  |  |  | Lāzera vājinātājs, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.1.1. | Aperture |  |  |  | ≥ 10 mm | Apertūra |  |  | ≥ 10 mm |  |
| 4.3.4.1.2. | Variable |  |  |  | yes | Regulējams |  |  | jā |  |
| 4.3.4.1.3. | Compatible with laser of 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.4.1.4. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.4.2. | Blank Cage Plates, 2 pc. |  |  |  |  | Pielāgojama plāksnīte, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.2.1. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.4.3. | Cage Plates, 2 pc. |  |  |  |  | Plāksnīte, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.3.1. | Directly mount optics with diameter |  |  |  | 1 '' | Paredzēts optikai ar diametru |  |  | 1 '' |  |
| 4.3.4.3.2. | Thread |  |  |  | SM1 | Vītne |  |  | SM1 |  |
| 4.3.4.3.3. | Thickness |  |  |  | 4 mm | Biezums |  |  | 4 mm |  |
| 4.3.4.3.4. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.4.4. | Cage Plate, 2 pc. |  |  |  |  | Plāksnīte, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.4.1. | Directly mount optics with diameter |  |  |  | 1 '' | Paredzēts optikai ar diametru |  |  | 1 '' |  |
| 4.3.4.4.2. | Thread |  |  |  | SM1 | Vītne |  |  | SM1 |  |
| 4.3.4.4.3. | Thickness |  |  |  | 0.5 '' | Biezums |  |  | 0,5 '' |  |
| 4.3.4.4.4. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.4.5. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.5.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.4.5.2. | Length |  |  |  | 1 '' | Garums |  |  | 1 '' |  |
| 4.3.4.6. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.6.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.4.6.2. | Length |  |  |  | 12 '' | Garums |  |  | 12 '' |  |
| 4.3.4.7. | Pedestal Pillar Posts, 4 pc. |  |  |  |  | Statnis, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.7.1. | Diameter |  |  |  | 25 mm | Diametrs |  |  | 25 mm |  |
| 4.3.4.7.2. | Height |  |  |  | 25.4 mm | Augstums |  |  | 25,4 mm |  |
| 4.3.4.7.3. | Thread |  |  |  | M4 | Vītne |  |  | M4 |  |
| 4.3.4.7.4. | Clamping Fork compatibility |  |  |  | yes | Montējams ar dakšu |  |  | jā |  |
| 4.3.4.8. | Cage Plate Adapter, 4 pc. |  |  |  |  | Adapteris stieņu montāžai uz statņa, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.8.1. | Cap screws |  |  |  | M4 | Paredzētās skrūves |  |  | M4 |  |
| 4.3.4.8.2. | Horizontal |  |  |  | yes | Horizontāls |  |  | jā |  |
| 4.3.4.8.3. | Compatible with 30 mm cage assemblies on two 6 mm rods |  |  |  | yes | Montējams uz diviem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.4.9. | Lenses, 2 pc. |  |  |  |  | Lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.9.1. | Achromatic Doublet |  |  |  | yes | Ahromatiskais dublets |  |  | jā |  |
| 4.3.4.9.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.4.9.3. | Focal length |  |  |  | 100 mm | Fokusa attālums |  |  | 100 mm |  |
| 4.3.4.9.4. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.4.9.5. | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.4.10. | Lenses, 2 pc. |  |  |  |  | Lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.10.1. | Negative Meniscus |  |  |  | yes | Negatīvs menisks |  |  | jā |  |
| 4.3.4.10.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.4.10.3. | Focal length |  |  |  | -100 mm | Fokusa attālums |  |  | -100 mm |  |
| 4.3.4.10.4. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.4.10.5. | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.4.11. | Lenses, 2 pc. |  |  |  |  | Lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.11.1. | Achromatic Doublet |  |  |  | yes | Ahromatiskais dublets |  |  | jā |  |
| 4.3.4.11.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.4.11.3. | Focal length |  |  |  | 150 mm | Fokusa attālums |  |  | 150 mm |  |
| 4.3.4.11.4. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.4.11.5. | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.4.12. | Lenses, 2 pc. |  |  |  |  | Lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.12.1. | Achromatic Doublet |  |  |  | yes | Ahromatiskais dublets |  |  | jā |  |
| 4.3.4.12.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.4.12.3. | Focal length |  |  |  | 300 mm | Fokusa attālums |  |  | 300 mm |  |
| 4.3.4.12.4. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.4.12.5. | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.4.13. | Lens Tubes, 2 pc. |  |  |  |  | Lēcas turētājs, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.13.1. | Lens Diameter |  |  |  | 25.4 mm | Lēcas diametrs |  |  | 25,4 mm |  |
| 4.3.4.13.2. | External Thread |  |  |  | SM1 | Arējā vītne |  |  | SM1 |  |
| 4.3.4.13.3. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.4.13.4. | Internal Thread Depth |  |  |  | 0.5 '' | Iekšējās vītnes dziļums |  |  | 0,5 '' |  |
| 4.3.4.14. | Adjustable Lens Tubes, 2 pc. |  |  |  |  | Regulējams lēcas turētājs, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.4.14.1. | Lens Diameter |  |  |  | 25.4 mm | Lēcas diametrs |  |  | 25,4 mm |  |
| 4.3.4.14.2. | External Thread |  |  |  | SM1 | Arējā vītne |  |  | SM1 |  |
| 4.3.4.14.3. | External Thread Length |  |  |  | 1 '' | Ārējās vītnes garums |  |  | 1 '' |  |
| 4.3.4.14.4. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.4.14.5. | Internal Thread Depth |  |  |  | 0.5 '' | Iekšējās vītnes dziļums |  |  | 0,5 '' |  |
| 4.3.5. | Second telescope, beam lifting part |  |  |  |  | Otrs teleskops, stara pacelšanas daļa |  |  |  |  |
| 4.3.5.1. | Cage Plates, 3 pc. |  |  |  |  | Plāksnīte, 3 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.1.1. | Directly mount optics with diameter |  |  |  | 1 '' | Paredzēts optikai ar diametru |  |  | 1 '' |  |
| 4.3.5.1.2. | Thread |  |  |  | SM1 | Vītne |  |  | SM1 |  |
| 4.3.5.1.3. | Thickness |  |  |  | 0.5 '' | Biezums |  |  | 0,5 '' |  |
| 4.3.5.1.4. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.5.2. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.2.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.5.2.2. | Length |  |  |  | 6 '' | Garums |  |  | 6 '' |  |
| 4.3.5.3. | Cage Assembly Rods, 8 pc. |  |  |  |  | Turētājstieņi, 8 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.3.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.5.3.2. | Length |  |  |  | 2 '' | Garums |  |  | 2 '' |  |
| 4.3.5.4. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.4.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.5.4.2. | Length |  |  |  | 12 '' | Garums |  |  | 12 '' |  |
| 4.3.5.5. | Mirror Mounts, 3 pc. |  |  |  |  | Spoguļa turētājs, 3 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.5.1. | Right Angle Kinematic |  |  |  | yes | Paredzēts atstarošanai taisnā leņķī |  |  | jā |  |
| 4.3.5.5.2. | Kinematic Adjustment in X and Y |  |  |  | ≥ ±4° | Regulēšanas iespējas |  |  | ≥ ±4° |  |
| 4.3.5.5.3. | Mirror Diameter |  |  |  | 25.4 mm | Spoguļa diametrs |  |  | 25,4 mm |  |
| 4.3.5.5.4. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.5.6. | Pedestal Pillar Posts, 2 pc. |  |  |  |  | Statnis, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.6.1. | Diameter |  |  |  | 25 mm | Diametrs |  |  | 25 mm |  |
| 4.3.5.6.2 | Height |  |  |  | 25.4 mm | Augstums |  |  | 25,4 mm |  |
| 4.3.5.6.3. | Thread |  |  |  | M4 | Vītne |  |  | M4 |  |
| 4.3.5.6.4. | Clamping Fork compatibility |  |  |  | yes | Montējams ar dakšu |  |  | jā |  |
| 4.3.5.7. | Mounting Post, 1 pc. |  |  |  |  | Statnis, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.7.1. | Diameter |  |  |  | 38 mm | Diametrs |  |  | 38 mm |  |
| 4.3.5.7.2. | Height |  |  |  | 200 mm | Augstums |  |  | 200 mm |  |
| 4.3.5.7.3. | Thread |  |  |  | M6 | Vītnes |  |  | M6 |  |
| 4.3.5.8. | Studded Pedestal Base Adapter, 1 pc. |  |  |  |  | Statņa pamatne, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.8.1. | Compatible with Mounting Post (Diameter 38 mm) |  |  |  | yes | Paredzēta 38 mm statnim |  |  | jā |  |
| 4.3.5.8.2. | Thread |  |  |  | M6 | Vītne |  |  | M6 |  |
| 4.3.5.9. | Clamping Fork for Pedestal Post or Post Pedestal Base Adapter, 1 pc. |  |  |  |  | Dakša statnim, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.9.1. | Compatible with Mounting Post (Diameter 38 mm) |  |  |  | yes | Paredzēta 38 mm statnim |  |  | jā |  |
| 4.3.5.10. | Cage Clamp for posts, 1 pc. |  |  |  |  | Adapteris stieņu montāžai uz statņa, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.10.1. | Compatible with Mounting Post (Diameter 38 mm) |  |  |  | yes | Paredzēts 38 mm statnim |  |  | jā |  |
| 4.3.5.10.2. | Horizontal |  |  |  | yes | Horizontāls |  |  | jā |  |
| 4.3.5.10.3. | Compatible with 30 mm cage assemblies on two 6 mm rods |  |  |  | yes | Montējams uz diviem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.5.11. | Cage Plate Adapters, 2 pc. |  |  |  |  | Adapteris stieņu montāžai uz statņa, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.11.1. | Cap Screw |  |  |  | M4 | Paredzētās skrūves |  |  | M4 |  |
| 4.3.5.11.2. | Horizontal |  |  |  | yes | Horizontāls |  |  | jā |  |
| 4.3.5.11.3. | Compatible with 30 mm cage assemblies on two 6 mm rods |  |  |  | yes | Montējams uz diviem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.5.12. | XY Translator, 1 pc. |  |  |  |  | XY translators, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.12.1. | Travel |  |  |  | at least 6 mm | Pārvietojums |  |  | vismaz 6 mm |  |
| 4.3.5.12.2. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.5.12.3. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.5.13. | Cover Plate for XY Translators, 1 pc. |  |  |  |  | XY translatora plāksnīte, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.13.1. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.5.13.2. | Compatible with XY Translator (before mentioned) |  |  |  | yes | Savietojama ar augstāk minēto XY translatoru |  |  | jā |  |
| 4.3.5.13.3. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.5.14. | Mirrors, 4 pc. |  |  |  |  | Spoguļi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.14.1. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.5.14.2. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.5.14.3. | Compatible with laser power |  |  |  | > 2W | Piemērots lāzeram ar jaudu |  |  | > 2W |  |
| 4.3.5.14.4. | Reflectance |  |  |  | > 99% | Atstarošanās |  |  | > 99% |  |
| 4.3.5.15. | Lenses, 2 pc. |  |  |  |  | Lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.15.1. | Achromatic Doublet |  |  |  | yes | Ahromatiskais dublets |  |  | jā |  |
| 4.3.5.15.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.5.15.3. | Focal length |  |  |  | 100 mm | Fokusa attālums |  |  | 100 mm |  |
| 4.3.5.15.4. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.5.15..5. | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.5.16. | Lenses, 2 pc. |  |  |  |  | Lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.16.1. | Achromatic Doublet |  |  |  | yes | Ahromatiskais dublets |  |  | jā |  |
| 4.3.5.16.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.5.16.3. | Focal length |  |  |  | 200 mm | Fokusa attālums |  |  | 200 mm |  |
| 4.3.5.16.4. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.5.16.5. | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.5.17. | Lens Tubes, 2 pc. |  |  |  |  | Lēcas turētājs, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.17.1. | Lens Diameter |  |  |  | 25.4 mm | Lēcas diametrs |  |  | 25,4 mm |  |
| 4.3.5.17.2. | External Thread |  |  |  | SM1 | Arējā vītne |  |  | SM1 |  |
| 4.3.5.17.3. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.5.17.4. | Internal Thread Depth |  |  |  | 0.5 '' | Iekšējās vītnes dziļums |  |  | 0,5 '' |  |
| 4.3.5.18. | Adjustable Lens Tubes, 2 pc. |  |  |  |  | Regulējams lēcas turētājs, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.5.18.1. | Lens Diameter |  |  |  | 25.4 mm | Lēcas diametrs |  |  | 25,4 mm |  |
| 4.3.5.18.2. | External Thread |  |  |  | SM1 | Arējā vītne |  |  | SM1 |  |
| 4.3.5.18.3. | External Thread Length |  |  |  | 1 '' | Ārējās vītnes garums |  |  | 1 '' |  |
| 4.3.5.18.4. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.5.18.5. | Internal Thread Depth |  |  |  | 0.5 '' | Iekšējās vītnes dziļums |  |  | 0,5 '' |  |
| 4.3.6. | Position detector part |  |  |  |  | Pozīcijas detektora daļa |  |  |  |  |
| 4.3.6.1. | Cage Cube with Dichroic Filter Mount, 1 pc. |  |  |  |  | Staru šķēlēja turētājs, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.1.1. | Dimensions of optical components |  |  |  | at least 36 x 26 x 3 mm | Optisko komponemšu izmēri |  |  | vismaz 36 x 26 x 3 mm |  |
| 4.3.6.1.2. | SM1 Tapped hole through 4 sides |  |  |  | yes | Četras SM1 vītnes skaldnēs |  |  | jā |  |
| 4.3.6.1.3. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.6.2. | XY Translator, 1 pc. |  |  |  |  | XY translators, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.2.1. | Travel |  |  |  | at least 6 mm | Pārvietojums |  |  | vismaz 6 mm |  |
| 4.3.6.2.2. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.6.2.3. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.6.3. | Blank Cage Plates, 1 pc. |  |  |  |  | Pielāgojama plāksnīte, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.3.1. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.6.4. | Cage Assembly Rods, 8 pc. |  |  |  |  | Turētājstieņi, 8 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.4.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.6.4.2. | Length |  |  |  | 1 '' | Garums |  |  | 1 '' |  |
| 4.3.6.5. | Cage Assembly Rods, 8 pc. |  |  |  |  | Turētājstieņi, 8 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.5.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.6.5.2. | Length |  |  |  | 2 '' | Garums |  |  | 2 '' |  |
| 4.3.6.7. | Lenses, 1 pc. |  |  |  |  | Lēca, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.7.1. | Biconvex |  |  |  | yes | Abpusēji izliekta |  |  | jā |  |
| 4.3.6.7.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.6.7.3 | Focal length |  |  |  | 30 mm | Fokusa attālums |  |  | 30 mm |  |
| 4.3.6.7.4 | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.6.7.5 | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.6.8. | Adjustable Lens Tubes, 1 pc. |  |  |  |  | Regulējams lēcas turētājs, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.8.1. | Lens Diameter |  |  |  | 25.4 mm | Lēcas diametrs |  |  | 25,4 mm |  |
| 4.3.6.8.2. | External Thread |  |  |  | SM1 | Arējā vītne |  |  | SM1 |  |
| 4.3.6.8.3. | External Thread Length |  |  |  | 1 '' | Ārējās vītnes garums |  |  | 1 '' |  |
| 4.3.6.8.4. | Internal Thread |  |  |  | SM1 | Iekšējā vītne |  |  | SM1 |  |
| 4.3.6.8.5. | Internal Thread Depth |  |  |  | 0.5 '' | Iekšējās vītnes dziļums |  |  | 0,5 '' |  |
| 4.3.6.9. | Shortpass Dichroic Mirror, 1 pc. |  |  |  |  | Staru šķēlējs, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.9.1. | Dimensions |  |  |  | 36 x 26 mm ±1 mm | Izmērs |  |  | 36 x 26 mm ±1 mm |  |
| 4.3.6.9.2. | Thickness |  |  |  | ≤ 3 mm | Biezums |  |  | ≤ 3 mm |  |
| 4.3.6.9.3. | Reflected light (1064nm wavelength) at 45° angle |  |  |  | ≥ 90% | Atstarošanās 45° 1064nm gaismai |  |  | ≥ 90% |  |
| 4.3.6.9.4. | Transmission for visible light |  |  |  | ≥ 50% | Caurspīdība redzamajai gaismai |  |  | ≥ 50% |  |
| 4.3.6.10. | Longpass IR Filter, 1 pc. |  |  |  |  | Infrasarkanais filtrs, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.6.10.1. | Cut-On wavelength |  |  |  | 950 nm | Filtra robežfrekvence |  |  | 950 nm |  |
| 4.3.6.10.2. | Transmission for 1064 nm wavelength |  |  |  | ≥ 70% | Caurlaidība viņa garumam 1064 nm |  |  | ≥ 70% |  |
| 4.3.6.10.3. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.7. | Additional parts |  |  |  |  | Papildus detaļas |  |  |  |  |
| 4.3.7.1. | Coarse ±1 mm XY Slip Plate Positioner, 2 pc. |  |  |  |  | XY pozicionētājplāksnīte, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.1.1. | Directly mount optics with diameter |  |  |  | 1'' | Paredzēts optikai ar diametru |  |  | 1'' |  |
| 4.3.7.1.2. | Adjustment (X, Y) |  |  |  | ± 1mm | Pārvietojums (X, Y) |  |  | ± 1mm |  |
| 4.3.7.1.3. | Thread |  |  |  | SM1 | Vītne |  |  | SM1 |  |
| 4.3.7.1.4. | Thickness |  |  |  | 0.5'' | Biezums |  |  | 0,5'' |  |
| 4.3.7.2. | Kinematic 30 mm Cage Mount, 1 pc. |  |  |  |  | Kinemātisks turētājs, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.2.1. | Angular adjustment |  |  |  | ± 4º | Leņķiskā regulēšana |  |  | ± 4º |  |
| 4.3.7.2.2. | Linear adjustment |  |  |  | ± 3 mm | Lineārā regulēšana |  |  | ± 3 mm |  |
| 4.3.7.2.3. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.7.3. | Collimated Laser Diode Module, 1 pc. |  |  |  |  | Lāzerdiodes modulis, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.3.1. | Wave lenght |  |  |  | 635 nm | Viļņa garums |  |  | 635 nm |  |
| 4.3.7.3.2. | Collimated beam |  |  |  | yes | Kolimēts stars |  |  | jā |  |
| 4.3.7.3.3. | Power |  |  |  | ≥ 1mW | Jauda |  |  | ≥ 1mW |  |
| 4.3.7.3.4. | Housing diameter |  |  |  | 11 mm | Ietvara diametrs |  |  | 11 mm |  |
| 4.3.7.4. | SM1-Threaded Adapter for Ø11 mm Collimators, 1 pc. |  |  |  |  | SM1 adapteris 11 mm kolimatoram, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.4.1. | Collimator diameter |  |  |  | 11 mm | Kolimatora diametrs |  |  | 11 mm |  |
| 4.3.7.4.2. | External thread |  |  |  | SM1 | Ārējā vītne |  |  | SM1 |  |
| 4.3.7.5. | Cage Assembly Rods, 8 pc. |  |  |  |  | Turētājstieņi, 8 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.5.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.7.5.2. | Length |  |  |  | 0.25 '' | Garums |  |  | 0,25 '' |  |
| 4.3.7.6. | Cage Assembly Rods, 8 pc. |  |  |  |  | Turētājstieņi, 8 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.6.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.7.6.2. | Length |  |  |  | 1 '' | Garums |  |  | 1 '' |  |
| 4.3.7.7. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.7.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.7.7.2. | Length |  |  |  | 3 '' | Garums |  |  | 3 '' |  |
| 4.3.7.8. | Cage Assembly Rods, 4 pc. |  |  |  |  | Turētājstieņi, 4 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.8.1. | Diameter |  |  |  | 6 mm | Diametrs |  |  | 6 mm |  |
| 4.3.7.8.2. | Length |  |  |  | 12 '' | Garums |  |  | 12 '' |  |
| 4.3.7.9. | Cage Plate Stops for ER Rods, 2 pc. |  |  |  |  | Platīšu kustības ierobežotāji, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.9.1. | Compatible with 30 mm cage assemblies rods (6 mm) |  |  |  | yes | Montējams uz 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.7.10. | 30 mm Cage System Alignment Plate with IR Disk, 2 pc. |  |  |  |  | 30 mm stieņu sistēmas IS regulēšanas platīte, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.10.1. | Sensitive for 1064 nm |  |  |  | yes | Jūtīgs uz 1064 nm |  |  | jā |  |
| 4.3.7.10.2. | Does Not Require Charging by Visible Light |  |  |  | yes | Nav nepieciešams uzlādēt redzamajā gaismā |  |  | jā |  |
| 4.3.7.10.3. | Compatible with 30 mm cage assemblies on 4 6 mm rods |  |  |  | yes | Montējams uz četriem 6 mm stieņiem (30 mm cage system) |  |  | jā |  |
| 4.3.7.11. | IR Detector Card, 1 pc. |  |  |  |  | IS jūtīga kartīte, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.11.1. | Sensitive for 1064 nm |  |  |  | yes | Jūtīgs uz 1064 nm |  |  | jā |  |
| 4.3.7.11.2. | Does Not Require Charging by Visible Light |  |  |  | yes | Nav nepieciešams uzlādēt redzamajā gaismā |  |  | jā |  |
| 4.3.7.12. | 4-40 Cap Screw and Hardware Kit, 1 pc. |  |  |  |  | Skrūvju un uzgriežņu komplekts, 1 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.12.1. | Size |  |  |  | 4-40 | Izmērs |  |  | 4-40 |  |
| 4.3.7.12.2. | Contain |  |  |  | Screws, nuts, washers | Satur |  |  | Skrūves, uzgriežņus, paplāksnes |  |
| 4.3.7.12.3. | Number of parts |  |  |  | ≥ 100 | Daļu skaits |  |  | ≥ 100 |  |
| 4.3.7.13. | Lenses, 2 pc. |  |  |  |  | Lēca, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.7.13.1. | Achromatic Doublet |  |  |  | yes | Ahromatiskais dublets |  |  | jā |  |
| 4.3.7.13.2. | Diameter |  |  |  | 25.4 mm | Diametrs |  |  | 25,4 mm |  |
| 4.3.7.13.3. | Focal length |  |  |  | 30 mm | Fokusa attālums |  |  | 30 mm |  |
| 4.3.7.13.4. | Compatible with laser for 1064 nm wavelength |  |  |  | yes | Piemērots lāzeram ar viļņa garumu 1064 nm |  |  | jā |  |
| 4.3.7.13.5. | AR Coating |  |  |  | yes | Dzidrināta |  |  | jā |  |
| 4.3.8. | Experimental control and data processing computer, 1 pc. |  |  |  |  | Eksperimentu kontroles un datu apstrādes dators, 1 gab. |  |  |  |  |
| 4.3.8.1. | Processor |  |  |  | At least 4 cores, 3.6 GHz, 22 nm, 10 MB cache L3 memory | Procesors |  |  | Vismaz 4 kodoli, 3,6 GHz, 22 nm, 10 MB L3 kešatmiņa |  |
| 4.3.8.2. | RAM |  |  |  | DDR3, 32 GB | RAM |  |  | DDR3, 32 GB |  |
| 4.3.8.3. | HDD |  |  |  | ≥ 2 TB, 7200rpm | HDD |  |  | ≥ 2 TB, 7200rpm |  |
| 4.3.8.4. | SDD |  |  |  | ≥ 240 GB | SDD |  |  | ≥ 240 GB |  |
| 4.3.8.5. | PCIe x16 expansion number |  |  |  | ≥ 3 | PCIe x16 paplašinājumu skaits |  |  | ≥ 3 |  |
| 4.3.8.6. | PCIe expansion number |  |  |  | ≥ 2 | PCIe paplašinājumu skaits |  |  | ≥ 2 |  |
| 4.3.8.7. | PCI expansion number |  |  |  | ≥ 1 | PCI paplašinājumu skaits |  |  | ≥ 1 |  |
| 4.3.8.8. | DVI or HDMI number |  |  |  | ≥ 2 | DVI vai HDMI skaits |  |  | ≥ 2 |  |
| 4.3.8.9. | USB 3.0 |  |  |  | yes | USB 3.0 |  |  | jā |  |
| 4.3.8.10. | IEEE1394 b (Firewire B) |  |  |  | yes | IEEE1394 b (Firewire B) |  |  | jā |  |
| 4.3.8.11. | Graphics |  |  |  | integrated | Grafika |  |  | integrēta |  |
| 4.3.8.12. | Ethernet |  |  |  | yes | Ethernet |  |  | jā |  |
| 4.3.8.13. | Wireless mouse/keyboard |  |  |  | at least mouse | Bezvadu pele/klaviatūra |  |  | vismaz pele |  |
| 4.3.8.14. | OS |  |  |  | Windows 8 or equivalent | OS |  |  | Windows 8 vai ekvivalenta |  |
| 4.3.8.15. | Warranty |  |  |  | ≥ 24 months | Garantija |  |  | ≥ 24 mēneši |  |
| 4.3.9. | Monitor, 2 pc. |  |  |  |  | Monitors, 2 gab. |  |  |  | Ražotājs/Manufacturer: Modelis/Model: |
| 4.3.9.1. | Main |  |  |  | LCD-TFT, IPS or similar, LED | Galvenās |  |  | LCD-TFT, IPS vai līdzvērtīgs, LED |  |
| 4.3.9.2. | Resolution |  |  |  | 1920 x 1080 | Izšķirtspēja |  |  | 1920 x 1080 |  |
| 4.3.9.2. | Inputs |  |  |  | DVI or HDMI | Ieejas |  |  | DVI vai HDMI |  |
| 4.3.9.4. | Size |  |  |  | ≥ 23'' | Izmērs pa diagonāli |  |  | ≥ 23'' |  |
| 4.3.9.4. | Warranty |  |  |  | ≥ 24 months | Garantija |  |  | ≥ 24 mēneši |  |
| 4.3.10. | Rack for placing the apparatus over the optical table, 1 pc. |  |  |  |  | Plaukts aparatūras novietošanai virs optiskā galda, 1 gab. |  |  |  |  |
| 4.3.10.1. | Structure |  |  | Modular, with ability to be disassembled, with dimensions appropriate to indicative dimensions given in the design sketch, capable of withstanding the load required; rack frame shall not come into contact with the optical table (its dimensions are 1200x800 mm), the distance from the optical table to the nearest frame components shall not be less than 10 mm |  | Konstrukcija |  | Modulāra, izjaucama, atbilstoša skicē dotajiem indikatīvajiem izmēriem, spējīga izturēt pieprasīto slodzi; plaukta rāmis nedrīkst saskarties ar optisko galdu (tā izmēri ir 1200x800 mm), attālums no optiskā galda līdz tuvākajām rāmja detaļām nedrīkst būt mazāks par 10 mm |  |  |
| 4.3.10.2. | Shelf fastening |  |  | Capable of withstanding the load required |  | Plauktu stiprinājums |  | Spējīgs izturēt pieprasīto slodzi |  |  |
| 4.3.10.3. | Material for the frame of the rack |  |  | Aluminium profiles |  | Materiāls plaukta rāmim |  | Alumīnija profili |  |  |
| 4.3.10.4. | Material for the shelves |  |  | One piece laminated plate |  | Plauktu materiāls |  | Viengabala laminēta plate |  |  |
| 4.3.10.5. | Positions of the top shelf |  |  | 2 positions: one as in the sketch, the second – 10 cm lower |  | Augšējā plaukta novietojums |  | 2 pozīcijas: skicē dotā un 10 cm zemāk |  |  |
| 4.3.10.6. | Positions of the lower shelf |  |  | 3 positions: one as in the sketch, the others – 10 cm lower and 10 cm higher |  | Apakšējā plaukta novietojums |  | 3 pozīcijas: skicē dotā, 10 cm zemāk un 10 cm augstāk |  |  |
| 4.3.10.7. | Load for every shelf |  |  | Up to 50 kg |  | Slodze katram plauktam |  | Līdz 50 kg |  |  |
| 4.3.10.8. | Finish quality |  |  | Eliminated the possibility of injury from edge cuts of the rack’s frame components and shelves and to catch someone’s clothing on bolt heads |  | Apstrādes kvalitāte |  | Novērsta iespēja savainoties uz plaukta rāmja detaļu un plauktu zāģējumu malām, aizķert apģērbu uz skrūvju galvām |  |  |

Līdz ar šo apliecinām, ka nav tādu apstākļu, kas liegtu mums piedalīties šajā iepirkuma procedūrā un izpildīt tehniskajās specifikācijās norādītās prasības.

We hereby declare that there are no circumstances that would prohibit us from participation in this procurement procedure and comply with the requirements specified in the technical specifications.

Pretendenta pilnvarotā persona:

___________________            _________________               ___________________

/vārds, uzvārds/ 						   	  /amats/        					 		/paraksts/

______________, 2013.gada ___.________________

/vieta/								/datums/

Applicant's authorized representative:

_____________________________________________________________________

/ Name / 				/ Title / 				/ Signature /

______________, 2013 On ____. ________________

/ Site / 				/ Date /

| Pielikums Nr.2 atklāta konkursa „Pētnieciskā aparatūra projekta „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” izpildei - Mikroreoloģijas komplekss, 2. komplekts” nolikumam Iepirkuma Nr.LUFI2013/13/ERAF-INFRA | Annex 2 to the Regulation of the Open Tender “Research equipment for fulfilment of the project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” - Microreology complex, Set 2” Procurement No. LUFI2013/13/ERAF-INFRA |
| --- | --- |

| LĪGUMS (projekts) | ## CONTRACT (draft) |
| --- | --- |

| Salaspils, 2013. gada ___._________ Latvijas Universitātes Fizikas institūta līgumu uzskaites Nr.LUFI2013/13/ERAF-INFRA/L |  | Salaspils, _________________2013. Institute of Physics of the University of Latvia Contract registration No.LUFI2013/13/ERAF-INFRA/L |
| --- | --- | --- |
| Latvijas Universitātes aģentūra – Latvijas Universitātes Fizikas institūts (turpmāk tekstā – LUFI), turpmāk tekstā – Pircējs, tā direktora Jāņa Ernesta Freiberga personā, kas rīkojas saskaņā ar LUFI nolikumu, no vienas puses, un__________________________________________, turpmāk tekstā – Pārdevējs, tās _________________________ personā, kas rīkojas saskaņā ar tās Statūtiem, no otras puses, abi kopā turpmāk tekstā – Puses un katrs atsevišķi turpmāk tekstā arī Puse, pamatojoties uz Pārdevēja piedāvājumu un Pircēja iepirkumu komisijas lēmumu par atklāta konkursa LUFI2013/13/ERAF-INFRA „Pētnieciskā aparatūra projekta „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” izpildei - Mikroreoloģijas kompleksa 2. komplekts” rezultātiem ERAF līdzfinansēta projekta „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” (projekta Nr.2011/0041/2DP/2.1.1.3.1/ 11/IPIA/VIAA/004) izpildei noslēdz šādu līgumu, turpmāk tekstā saukts Līgums: |  | Institute of Physics of the University of Latvia (hereinafter – the IPUL), hereinafter – the Purchaser, in the person of Mr. Janis Ernests Freibergs, its Director, acting pursuant to the Regulation of the IPUL on the one side, and _________________________________, hereinafter – the Vendor, in the person of _______________________________, its _______________, acting pursuant to the Articles of Association, on the other side, both hereinafter referred to as the Parties; each separately hereinafter referred to as the Party, on the basis of Vendor’s offer and the decision of Purchaser’s Procurement Commission on the results of the Open Tender LUFI2013/13/ERAF-INFRA “Research equipment for fulfilment of the project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” - Microreology complex, Set 2” for fulfilment of the ERDF Project No.: 2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004 “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” shall conclude the following contract, hereinafter – the Contract: |
| 1. LĪGUMA PRIEKŠMETS |  | - 1. SUBJECT OF THE CONTRACT |
| 1.1. Pārdevējs pārdod, bet Pircējs pērk Mikroreoloģijas kompleksa 2. komplektu, sastāvošu no vienībām, kuru tehniskās specifikācijas norādītas šī Līguma pielikumā Nr.1. (turpmāk tekstā - Preces). |  | 1.1. The Vendor shall sell and the Purchaser shall buy Microreology complex, Set 2, consisting of items, technical specifications of which has been indicated in Annex No.1 of the Contract herein (hereinafter - the Goods). |
| 1.2. Līguma summa, ieskaitot visus ar Līguma izpildi saistītos izdevumus un nodokļus ir LVL ____ (______________________________), turpmāk saukta Līgumcena. |  | - 1.2. The Contract price is LVL _______ (____________________________), including all the expenses, taxes and duties related to the fulfilment of the Contract, hereinafter – the Contract Price. |
| 2. PIEGĀDES IZPILDES - PIEŅEMŠANAS NOSACĪJUMI UN APMAKSAS KĀRTĪBA |  | 2. TERMS FOR THE DELIVERY EXECUTION AND APPROVAL, AND THE PROCEDURE OF PAYMENT |
| 2.1. Preces Pircējam tiek piegādāta ar DDP nosacījumiem pēc adreses: Zeļļu iela 8, Rīga, Latvija, LU Fizikas un matemātikas fakultātes telpas. |  | 2.1. The Goods shall be DDP delivered to the Purchaser at the address: 8 Zellu Str., Riga, Latvia, the premises of the Faculty of Physics and Mathematics of the University of Latvia. |
| 2.2. Preces tiek piegādāta Pircējam 6 (sešu) nedēļu laikā no Līguma abpusējas parakstīšanas datuma. Preču piegāde tiek apstiprināta, abām Pusēm parakstot Pieņemšanas – nodošanas aktu. |  | 2.2. The Goods are deemed to be delivered to the Purchaser in 6 (six) weeks time from the date of mutual signature of the Contract. Delivery of Goods shall be confirmed by signing the Deed of Transfer by both Parties. |
| 2.3. Pircējs veic avansa maksājumu LVL ________ (_____________) jeb 20% apmērā no Līgumcenas 10 (desmit) darba dienu laikā pēc Līguma abpusējas parakstīšanas un avansa rēķina saņemšanas. Pircējs apņemas veikt maksājumu LVL ________ (_____________) jeb 80% apmērā no Līgumcenas 10 (desmit) darba dienu laikā pēc Preču piegādes, abpusēji parakstīta Pieņemšanas – nodošanas akta parakstīšanas un attiecīga rēķina saņemšanas. |  | 2.3. The Purchaser shall make a prepayment in the amount of LVL ________ (_____________) or 20% of the Contract Price within 10 (ten) working days from mutual signing of the Contract and receiving the advance payment invoice. The Purchaser hereby undertakes to make the payment of LVL ________ (_____________) or 80% of the Contract Price within 10 (ten) working days after delivery of Goods, mutual signing of the Deed of Transfer and receiving the respective invoice. |
| 3. LĪGUMSLĒDZĒJU PUŠU ATBILDĪBA |  | - 3. LIABILITY OF THE CONTRACTING PARTIES |
| 3.1. Līdz piegādāto Preču pilnas apmaksas izdarīšanai, piegādātās Preces ir Pārdevēja īpašums. Preču nejaušas bojāejas (bojājuma) risku sākot ar brīdi, kad Preces ir nogādātas Pircēja telpās, uzņemas Pircējs. Īpašumtiesības uz piegādātajām Precēm pāriet Pircējam ar brīdi, kad Pircēja banka ir akceptējusi maksājuma uzdevumu par piegādājamo Preču apmaksu. |  | 3.1. The delivered Goods shall be the property of the Vendor until making full payment for the delivered Goods. The risk for an unintentional destruction (damage) of the Goods shall be assumed by the Purchaser from the moment of delivery of the Goods to the premises of the Purchaser. The ownership rights to the Goods shall be transferred to Purchaser from the moment the Purchaser’s bank has approved the payment order on the payment for the delivered Goods. |
| 3.2. Par apmaksas termiņa neievērošanu Pircējs, pēc Pārdevēja pirmā pieprasījuma, maksā Pārdevējam līgumsodu 0,1% (procenta vienas desmitdaļas) apmērā no nokavētā maksājuma summas par katru nokavēto dienu, bet ne vairāk kā 10% (desmit procentus) no nokavētā maksājuma summas. Nokavējuma procentu samaksa neatbrīvo no Līguma saistību izpildes. |  | 3.2. For the failure to comply with the payment term the Purchaser, upon the first request by the Vendor, shall pay the contractual penalty to the Vendor in the amount of 0.1% (one-tenths of one percent) from the sum of the delayed payment for each delayed day, but no more than 10% (ten percent) of the delayed payment. The payment of the contractual penalty shall not free from the compliance with the Contract commitments. |
| 3.3. Par Preču piegādes kavējumu Pārdevējs, pēc Pircēja pirmā pieprasījuma, maksā Pircējam līgumsodu 0,1% (procenta vienas desmitdaļas) apmērā no līgumsummas par katru nokavēto dienu, bet ne vairāk kā 10% (desmit procentus) no Līguma summas. Līgumsoda samaksa neatbrīvo no Līguma saistību izpildes. |  | 3.3. For the delay of the delivery of the Goods the Vendor, upon the first request by the Purchaser, shall pay the contractual penalty to the Purchaser in the amount of 0.1% (one-tenths of one percent) from the Contract price for each delayed day, but no more than 10% of the Contract price. The payment of the contractual penalty shall not free from the compliance with the Contract obligations. |
| 3.4. Katra līgumslēdzēja Puse atbild par Līguma neizpildi vai nepienācīgu izpildi, ja tās vainas dēļ nodarīts kaitējums otrai līgumslēdzēja Pusei. |  | 3.4. Every Contracting Party shall be liable for the failure to comply with the Contract or for inadequate compliance, if the detriment is thus caused to the other Contracting Party. |
| 3.5. Neviena no šā noslēgtā Līguma Pusēm nav tiesīga nodot savas tiesības, kas saistītas ar šo Līgumu trešajām personām bez otras Puses piekrišanas. Puses ir tiesīgas rīkoties caur saviem pārstāvjiem. |  | 3.5. None of the Parties to the concluded present Contract shall be entitled to transfer its rights, related to the present Contract, to the third parties without the other Party’s consent. The Parties shall be entitled to act through their representatives. |
| 3.6. Pārdevējs atbild par Pircējam piegādāto Preču kvalitāti, kādu noteicis attiecīgo preču ražotājs saskaņā ar Pārdevēja izsniegto garantijas sertifikātu. Preču garantijas remonts ir jāveic atbilstoši vispārpieņemtajai praksei šādām Precēm. Preču bojājumus Pircējs piesaka rakstiski pa faksu _________ vai ziņojot uz e-pasta adresi __________. Paraleli informācijas nodošanai var izmantot tālr._________ . Pārdevējs rakstiski pa faksu _________ vai e-pastu __________ apstiprina pieteikuma par Preču bojājumu saņemšanu. Pārdevēja reakcijas laiks (laiks no Preču bojājuma pieteikšanas līdz Pārdevēja speciālista ierašanās pie Pircēja brīdim) ir ne vairāk kā 3 (trīs) darba dienas. Pārdevējam ir pienākums novērst pieteiktos defektus nekavējoties un ne ilgāk kā 15 (piecpadsmit) darba dienu laikā. Ja bojājumu neizdodas novērst 2 (divu) mēnešu laikā, tad nākamo 2 (divu) mēnešu laikā Pārdevējs piegādā jaunu ekvivalentu iekārtu. Ja 2 (divos) mēnešos nav piegādāta aizvietojošā iekārta, tad nākamā 1 (viena) mēneša laikā Pārdevējs atgriež Pircējam summu iekārtas iegādes vērtībā. | 3.6. The Vendor shall be liable to the Purchaser for the quality of the delivered Goods, stated by the manufacturer of the respective Goods subject to the warranty certificate issued by the Vendor. The warranty repair of the Goods shall be made subject to the common practice for the respective Goods. The Purchaser shall notify of the damaged Goods in writing by fax _____________ or by sending an e-mail message to the address: ___________. Information may at the same time be provided by telephone ____________. The Vendor shall confirm the receipt of the the notification of the damaged Goods in writing by fax ________ or e-mail _________. The Vendor's reaction (the time from the notification of the damaged Goods until the arrival of the Vendor's expert at the Purchaser's location) shall not exceed 3 (three) business days. The Vendor shall have an obligation to perform the repair work of the notified defects as soon as possible and no later than in 15 (fifteen) business days time. If it is not possible to perform the repair work in 2 (two) months time, the Vendor shall deliver a new equivalent equipment in 2 (two) months time. If the replacement equipment has not been delivered in 2 (two) months time, the Vendor shall return the Purchaser the sum equal to the equipment purchase amount in 1 (one) month time. |  |
| 3.7. Garantijas apkalpošanas perioda laikā notikuša bojājuma gadījumā Pārdevējs uz sava rēķina, nepazeminot Preču kvalitāti, veic bojātās daļas nomaiņu vai remontu. Garantijas saistības ir spēkā pie nosacījuma, ka nav iestājušies garantijas sertifikātā norādītie apstākļi, kas pārtrauc garantijas saistības. | 3.7. In the event of a damage occurring during the warranty maintenance period, the Vendor shall replace the faulty part or make the repair at his/her expense, without diminishing the quality of the Goods. The warranty commitments are valid on the condition that the circumstances stated in the warranty certificate and terminating the warranty commitments, have not set in. |  |
| 3.8. Preču garantijas laiks tiek noteikts katrai vienībai atsevišķi tehniskajās specifikācijās šī Līguma Pielikumā Nr.1. Tas nedrīkst būt mazāks par 1 (vienu) gadu no Preču piegādes brīža. | 3.8. Warranty period for the Goods shall be indicated for every item separately in the Technical specifications in Annex No.1 of the Contract herein. It shall not be shorter than 1 (one) year from the performance of the delivery. |  |
| 3.9. Visos dokumentos, kas saistīti ar šo Līgumu Pārdevējs obligāti norāda visus nepieciešamos rekvizītus un datus, tajā skaitā ERAF projekta nosaukumu un numuru (Projekts Nr.2011/0041/2DP/2.1.1.3.1/ 11/IPIA/VIAA/004 „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana”) un iepirkuma identifikācijas numuru (LUFI2013/13/ERAF-INFRA). | 3.9. The Vendor on a mandatory basis shall indicate all the necessary banking data and information including the name and the number of ERDF project (Project No.2011/0041/2DP/ 2.1.1.3.1/11/ IPIA/VIAA/004 “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies”) and the procurement identification number (LUFI2013/13/ERAF-INFRA) in all the documents regarding the present Contract. |  |
| 3.10. Līguma 3.9. punkta prasību neievērošanas gadījumā, Pircējs patur tiesības neapmaksāt rēķinus līdz minēto prasību izpildei. | 3.10. In the event of non-compliance with the requirements of Item 3.9 of the Contract, the Purchaser shall reserve the rights to make no payment of the invoices until the compliance with the stated requirements. |  |
| 4. NEPĀRVARAMA VARA | 4. FORCE MAJEURE |  |
| 4.1. Gadījumā, kad rodas nepārvaramas varas apstākļi, tādi kā dabas katastrofas, karš, jebkuras militāras akcijas, valsts pārvaldes institūciju rīkojumi, lēmumi vai aizliegumi un citi ārkārtēji apstākļi, kurus Puses nevarēja paredzēt un novērst ar saviem līdzekļiem, līgumsaistību izpildes laiks pagarinās par periodu, kurā pastāv nepārvaramas varas radītie apstākļi. Ja nepārvaramas varas apstākļi pastāv ilgāk kā 3 (trīs) mēnešus, Līguma darbība tiek izbeigta un Puses veic savstarpējo norēķinu atbilstoši faktiski piegādātajām Precēm. | 4.1. In the cases of the force majeure circumstances, such as the natural hazards, war, any military actions, orders by the state administration institutions, decisions or prohibitions and other extraordinary circumstances, which the Parties could not envisage and prevent with their own resources, the time period of compliance with the Contract obligations shall be extended by the period of the existence of the circumstances caused by the force majeure. If the force majeure circumstances exist for more than 3 (three) months, the Contract shall be terminated and the Parties shall make mutual settlement subject to the actually delivered Goods. |  |
| 5. CITI NOTEIKUMI | - 5. OTHER CONDITIONS |  |
| 5.1. Līgums stājas spēkā ar tā parakstīšanas brīdi un darbojas līdz pilnīgai abpusējai Līguma saistību izpildei. Līgums atspoguļo Pušu vienošanos attiecībā uz Līguma priekšmetu, apmaksas, piegādes u.c. nosacījumiem un atceļ visas iepriekšējās sarakstes un mutiskas vienošanās, kas pastāvējušas starp Pusēm līdz Līguma parakstīšanai. | 5.1. The Contract shall take effect from the moment of signing and shall be valid until full mutual compliance with the Contract obligations. The Contract shall reveal the agreement of the Parties with respect to the subject of the Contract, conditions of the payment, delivery and other provisions, and shall revoke all the preceding written communication and oral arrangements existing among the Parties until the signing of the Contract. |  |
| 5.2. Pasūtītājs vienpusēji ir tiesīgs lauzt Līgumu, ja Līguma termiņš nav likumīgi pagarināts un Preču piegāde kavējas vairāk par 4 (četrām) nedēļām pēc šī Līguma 2.2. punktā noteiktā termiņa beigām. | 5.2. The Purchaser shall be entitled to terminate the Contract unilaterally, if the Contract deadline is not legally extended and delivery of the Goods has been delayed by more than 4 (four) weeks following the expiry of the deadline indicated in the Clause 2.2. of the present Contract. |  |
| 5.3. Visi būtiskie paziņojumi, kas attiecas uz šā Līguma noteikumu izpildi, sūtāmi ierakstītā vēstulē uz šā Līguma 6. punktā norādītām adresēm, vai nododami Pusēm personīgi. Ja paziņojumi tiek sūtīti ierakstītā vēstulē, tie uzskatāmi par saņemtiem trešajā dienā pēc to nosūtīšanas Latvijas adresātiem vai 14. dienā pēc to nosūtīšanas ārvalstu adresātiem. Adreses maiņa kļūst saistoša otrai Pusei, tad, kad Puse, kuras adrese tiek mainīta, nosūta tai paziņojumu vai dokumentu, kas apstiprina šādas izmaiņas. Lai paātrinātu informācijas apriti, visi dokumenti adresātam vispirms jānosūta pa faksu vai uz oficiālo norādīto e-pasta adresi un saņēmējam jāatsūta apstiprinājums par saņemšanu. | 5.3. All notifications related to the compliance with the conditions of the present Contract shall be sent in a registered letter to the addresses stated in Item 6 herein or delivered to the Parties in person. If the notifications are sent in a registered letter, they shall be deemed to be received on the third day after mailing, if the addressee is in Latvia, or on the fourteenth day after mailing, if the addressee is outside Latvia. The change of address shall be binding on the other Party, when the Party whose address is changed sends the other Party a notification or a document certifying such changes. To accelerate the information exchange, at first, all documents shall be sent to the addressee by fax or to the official e-mail address specified, and the recipient shall send a confirmation of such receipt. |  |
| 5.4. Visi strīdi un domstarpības, kādas Pusēm radušās šā Līguma izpildes gaitā, un nav atrisināmas pārrunu ceļā 30 dienu laikā, tiek izskatītas Latvijas Republikas tiesu iestādēs, Latvijas Republikas normatīvajos aktos paredzētajā kārtībā. | 5.4. All disputes and disagreements arising between the Parties in the course of compliance with the present Contract and cannot be resolved by way of negotiations in 30 days, shall be settled in the court institutions of the Republic of Latvia in the procedure stipulated by the regulatory enactments of the Republic of Latvia. |  |
| 5.5. Līguma teksts var tikt grozīts vai papildināts Pusēm savstarpēji vienojoties, noformējot to rakstveidā. Jebkurš šāds rakstisks akts kļūst par šī Līguma neatņemamu sastāvdaļu. | 5.5. The text of the Contract may be amended or supplemented upon the mutual agreement of the Parties thereon, executing it in writing. Any such written document shall become an integral part of the present Contract. |  |
| 5.6. Puses ar savu parakstu apliecina, ka tām ir visas tiesības (pilnvaras) slēgt Līgumu un ar to iegūstot savu pārstāvamo vārdā Līgumā minētās tiesības un pienākumus. Ja Pārdevēja pārstāvis līguma noslēgšanas brīdī nav bijis pilnvarots pārstāvēt Pārdevēju, tad viņš/viņa pats/pati, kā fiziska persona atbild par līgumsaistību izpildi ar visu savu mantu. | 5.6. The Parties shall certify with their signatures that they have all the rights (authorisations) to enter into the Contract, thereby acquiring, in the name of the persons represented by them, the rights and obligations stated in the Contract. If the Vendor’s representative has not been authorised to represent the Vendor at the moment of entering into the Contract, then he/she as a natural person shall be held liable for the compliance with the Contract obligations with all his/her property. |  |
| 5.7. Puses pilnvaro veikt ar šā Līguma izpildi saistītās darbības (kontaktēties ar otru Pusi, parakstīt Preces pavadzīmes-rēķinus, nodot/saņemt Preci) šādas personas: | 5.7. The Parties shall hereby authorise the following persons to perform the activities related to the compliance with the present Contract (to contact with the other Party, to sign the invoices of the Goods, to transfer, to accept the Goods): |  |
| 5.7.1. no Pircēja puses: _____________ _______________________; | 5.7.1. on the Purchaser’s side _________ ____________________; |  |
| 5.7.2. no Pārdevēja puses ___________ _________________________. | 5.7.2. on the Vendor’s side ___________ ___________________ . |  |
| 5.8. Šis Līgums ir uzrakstīts divos autentiskos eksemplāros latviešu un angļu valodā uz 8 (astoņām) lapām. Līguma pielikums Nr.1 un citi Līguma iespējamie pielikumi ir tā neatņemamas sastāvdaļas. Pēc Līguma parakstīšanas viens eksemplārs tiek nodots Pircējam, bet otrs – Pārdevējam. | 5.8. The present Contract shall be drawn up on 8 (eight) pages in Latvian and English in two authentic copies. Annex 1 to the Contract and other potential Annexes to the Contract are an integral part of the Contract. After signing of the Contract, one copy shall be delivered to the Purchaser, but the other – to the Vendor. |  |
| 6. LĪGUMSLĒDZĒJU PUŠU JURIDISKĀS ADRESES UN CITI REKVIZĪTI | - 6. THE LEGAL ADDRESSES AND OTHER DATA OF THE CONTRACTING PARTIES |  |
| Pircējs: | Purchaser: |  |
| Latvijas Universitātes aģentūra – Latvijas Universitātes Fizikas institūts Juridiskā adrese: Miera iela 32, Salaspils, LV-2169, Latvia PVN reģ.Nr.LV90002112199 Norēķinu konts: LV84TREL9150209008000, Banka: Valsts Kase, Bankas kods: TRELLV22 | Institute of Physics of the University of Latvia Legal address: Miera street 32, Salaspils, LV-2169, Latvia VAT reg. No.LV90002112199 Account number: LV84TREL9150209008000, Bank: State Treasury, Code: TRELLV22 |  |
| Pārdevējs: | Vendor: |  |
| Nosaukums:______________________ Juridiskā adrese: __________________ Biroja adrese: ____________________ PVN reģ.Nr. _____________________ Norēķinu konts: ___________________ Banka: __________________________ Bankas kods: _____________________ | Name:__________________________ Legal address: ___________________ Address of the office: _____________ VAT reg. No. ____________________ Account number: _________________ Bank: __________________________ Code: __________________________ |  |
| Pircējs / Purchaser: | Pārdevējs / Vendor: |  |
| ______________________ Paraksts / Signature Z.v./ Seal | ______________________ Paraksts / Signature Z.v./ Seal |  |

Līguma LUFI2013/13/ERAF-INFRA/L pielikums Nr.1

līgumam par iepirkuma Nr.LUFI2013/13/ERAF-INFRA „Pētnieciskā aparatūra projekta „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” izpildei - Mikroreoloģijas komplekss, 2. komplekts”, noslēgtam starp LU Fizikas institūtu, LU aģentūru

un _________________________________________________________________________

_________________________________________________________________________

## Annex 1 to the Contract LUFI2013/13/ERAF-INFRA/L

on the Procurement No.LUFI2013/13/ERAF-INFRA „Research equipment for fulfilment of the project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” -Microreology complex, Set 2”, concluded between the Institute of Physics of the University of Latvia

and _________________________________________________________________________

_________________________________________________________________________

| Salaspils, 2012. gada ___._________ Latvijas Universitātes Fizikas institūta līgumu uzskaites Nr.LUFI2013/13/ERAF-INFRA/L | Salaspils, _________________2012. Institute of Physics of the University of Latvia Contract registration No.LUFI2013/13/ERAF-INFRA/L |
| --- | --- |
| Pircējs - Latvijas Universitātes Fizikas institūts (LUFI) tā direktora Jāņa Ernesta Freiberga personā, kas rīkojas saskaņā ar LUFI nolikumu, no vienas puses, un Pārdevējs _______________________ ________________________________, tās _________________________ personā, kas rīkojas saskaņā ar tās Statūtiem, no otras puses, vienojas par šādu piegādājamo Preci, tās specifikāciju un garantijas laika termiņiem: | Purchaser - Institute of Physics of the University of Latvia (IPUL), in the person of Mr. Janis Ernests Freibergs, its Director, acting pursuant to the Regulation of the IPUL on the one side, and Vendor ___________________________ _______________________, in the person of _____________________, its _______________, acting pursuant to the Articles of Association, on the other side, agree on the following items constituting the Goods to be supplied, their specifications and the deadlines of the warranty period: |

Turpinājums nākamajā lappusē / Continued on the next page

Līguma LUFI2013/13/ERAF-INFRA/L pielikums Nr.1

Annex 1 to the Contract LUFI2013/13/ERAF-INFRA/L

TEHNISKĀS SPECIFIKĀCIJAS / Technical specificationS

Pētnieciskā aparatūra projekta „Nanostrukturēto un daudzfunkcionālo materiālu, konstrukciju un tehnoloģiju Valsts nozīmes pētniecības centra zinātniskās infrastruktūras attīstīšana” izpildei - Mikroreoloģijas komplekss, 2. komplekts.

Research equipment for fulfilment of the project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” - Microrheology complex, Set 2.

[Šeit jāievietoto Pārdevēja tehniskā piedāvājuma tabula, kas ir sastādīta, izmantojot šī Nolikuma pielikumā Nr.1 doto veidlapu]

[The table of the Vendor’s Technical bid, drawn up on the form given in Appendix 1 to the Regulation, shall be inserted here]

| Pircējs / Purchaser: | Pārdevējs / Vendor: |
| --- | --- |
| ______________________ Paraksts / Signature Z.v./ Seal | ______________________ Paraksts / Signature Z.v./ Seal |

TO BE COMPLETED BY THE APPLICANT

Appendix 3.1

Of the Competition Regulations for the Procurement

“Research equipment for fulfilment of the project

“Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies”

Microrheology complex, Set 2”

Procurement identification Nr.LUFI2013/1/ERAF-INFRA

Application for participation in the open competition

________________________________________

/ Location, Date /

Contracting Authority: Institute of Physics of the University of Latvia, UL Agency.

Procurement: Nr.LUFI2013/13/ERAF-INFRA - “Research equipment for fulfilment of the project “Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies””

(Project ID number. 2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004) - Microrheology complex, Set 2.

Familiar with the Competition Regulations and accepting all conditions of the Competition, we, the undersigned, offer to supply in accordance with the requirements of the Competition Regulations the equipment - Microrheology complex, Set 2 - for total price (VAT included)

_________________________________________________________________________

(Total tender price including VAT in words and figures; the total price includes all delivery, as well as the installation, functionality testing, and training / instruction costs - if applicable)

Total price, VAT excluded _________________________________________________________________________

(Tender pric, excluding VAT in words and figures)

If our proposal is accepted, we undertake to deliver the equipment - Microrheology complex, Set 2 - in 6 (six) weeks time from the date of signing of the Contract in accordance with the Technical specifications that are part of our tender.

Hereby we are presenting our tender, which contains documents for the selection of Applicants, as well as Technical specifications and Financial proposal for Microrheology complex, Set 2.

We guarantee the truthfulness of the information provided in our tender.

Hereby we confirm that we are not subject to the conditions of Applicant exclusion defined in the Article 39, Part (1) of the Public Procurement Law.

We confirm that our tender is valid 90 (ninety) days from the tender submission deadline specified in the Competition Regulations, and the Contracting Authority may accept the offer at any time before the expiry of the validity term.

We guarantee precise execution of the commitments if the procurement contract is concluded.

| Applicant’s name |  |
| --- | --- |
| Legal address |  |
| Actual address |  |
| Registration No. |  |
| VAT registration No. |  |
| Phone |  |
| Fax |  |
| E-mail address |  |
| Website address |  |
| Contact person |  |
| Contact person’s phone and e-mail |  |
| Authorized person’s name, title |  |
| Signature of the authorized person |  |

TO BE COMPLETED BY THE APPLICANT

Appendix 3.2

To the Competition Regulations for the Procurement

“Research equipment for fulfilment of the project

“Development of Scientific Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” –

Microrheology complex, Set 2”

Procurement identification Nr.LUFI 2013/13/ERAF-INFRA

List of supplies of equivalent goods (equipment) over the past three (3) years

(include 3-5 major supplies)

| No. | Subject of the supply contract | Contract price, LVL | Contract execution time, year / month | Customer’s name and address |
| --- | --- | --- | --- | --- |

Authorized representative of the Applicant:

_________________________________________________________________________

/ Name /		 / Title /		 / Signature /

______________, 2013, On ____. ________________

/ Site / 				/ Date /

Appendix 4

To the Competition Regulations for the Procurement

“Research equipment for fulfilment of the project “Development of Scientific

Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” - Microrheology complex, Set 2”

Procurement identification Nr.LUFI2013/13/ERAF-INFRA

TO BE COMPLETED BY THE APPLICANT

FINANCIAL OFFER

For the Procurement Nr.LUFI2013/13/ERAF-INFRA 
“Research equipment for fulfilment of the project “Development of Scientific

Infrastructure for the National Research Centre of Nanostructured and Multifunctional Materials, Constructions and Technologies” - Microrheology complex, Set 2”

(Project ID No.2011/0041/2DP/2.1.1.3.1/11/IPIA/VIAA/004)

Microrheology complex, Set 2

| Name of the priced item | Quantity | Unit price * at the point of delivery, EUR / other currency ** | Price at the point of delivery, without VAT, EUR / other currency |
| --- | --- | --- | --- |
| a | b | c | b × c |
| 1. |  |  |  |
| 2. |  |  |  |
| ... |  |  |  |
| TOTAL EUR / other currency |  |  |  |

*) The financial offer prices include all taxes and duties as well as rebates which are applicable to the offered goods, but without VAT. Delivery costs can be presented in a separate line, if not, then it is assumed that the delivery costs are included in the price of the equipment units. The equipment installation, functional testing, and training/instruction costs shall be presented in a separate line (if applicable).

**) Price in LVL or other currencies will be converted to EUR according exchange rates set by the Bank of Latvia at the date of tender opening.

We hereby recognize that the proposed total price of the Microrheology complex, Set 2 is not a business secret.

Applicant's authorized representative:

_______________________________________________________

/	 Name / 	/ Title / 	/ Signature /

______________, 2013. On ____. ________________

/ Site / 				/ Date /