Questions concerning Lot 3

- Is it correct that the laser shall be compatible with your micro-PIV microscope?

A: Yes laser should be compatible with microscope Leica DM ILM.

- If the laser shall be compatible with a light sheet optic instead of microscope – then please specify region of interest (e.g. 5x5 cm image), distance from light sheet optic to region of interest (e.g. 50 cm of which 10 cm air and 40 cm water), distance from region of interest to camera objective (e.g. 50 cm of which 20 cm water and 30 cm water), and any requirement of light sheet thickness at region of interest (e.g. 1 mm).

A:  We will use laser only in micro-PIV system.

- If the laser shall be compatible with your micro-PIV microscope, we assume that you require a light guiding system with adapters to the microscope, is this correct?

A: We already have light fiber encoupling adapter and light fibre.

- It is specified that the laser has power control, do you require it to have motorized attenuator controlled remotely, a manual attenuator controlled by hand at the laser, or do you mean anything else with the wording power control?

A: The motorized optical attenuator will be best for our system.

- It is specified that installation, technical support and training shall be included. We assume that this must cover the system (laser, light guide and microscope) and not only the laser. Is this correct?

A: Since we have experience of using micro-PIV equipment we assume that we have enough skills to install laser in our system. The important is just technical support for laser and warranty. But, some training would be appropriate for the other equipment of the lot. Please, pay attention to the requirement of the Competition Regulations, that the offer (tender) must include the whole set of the required equipment, not only one piece.